## Slide 1: Calibration of the BRAMS Interferometers
Johannes Laur
30/05/2026

## Slide 2: BRAMS Interferometer
≈15 m (2.5 λ)
≈ 15 m (2.5 λ)
≈ 12 m (2 λ)
≈ 12 m (2 λ)
Spatial ambiguity due to antenna spacing > 0.5 ∙ λ
Larger antenna spacing increases accuracy in Angle of Arrival

## Slide 3: Theory
Rx1
Rx2
Cable 1
Cable 2
?
?
Uncertainties
in antenna route
- degradation of components, temperature,
Wave front

## Slide 4: Theory
Wave front
Wave front
)

## Slide 5: Sanity Check and Calibrator Stability Humain
07/10/2018 00:00 h

## Slide 6: Sanity Check and Calibrator Stability Humain
07/10/2018 00:00 h
± 2.5º
 expected accuracy/stability ± 0.5°

## Slide 7: Sanity Check and Calibrator Stability Ecotron
07/10/2025 00:00 h

## Slide 8: Sanity Check and Calibrator Stability Ecotron
07/12/2025 00:00 h
± 0.35º
 expected accuracy/stability ± 0.5°

## Slide 9: Drone Flight Calibration Campaign Humain
Interferometer

## Slide 10: Drone Flight Calibration Campaign Humain
Drone1
Drone2
Drone3
Drone1
Drone2
Drone3
Drone1
Drone2
Drone3
Drone1
Drone2
Drone3

## Slide 11: Drone Flight Calibration Campaign Humain
Drone1
≈ 4.3º
≈ 7º

## Slide 12: Plane Flight Calibration Campaign Ecotron

## Slide 13: Plane Flight Calibration Campaign Ecotron
≈ 1º
< 1º
≈ 1.3º
≈ 2.1º

## Slide 14: What’s next
New drone flights
  Humain:
    Existing receivers
    New receivers
  Ecotron: TBD
Calibration for system offset (self-calibration)
  Implementing the “dtm” – Method to analyse and calibrate the existing data
    Analysis on required number of time step (*.wav files)
    Identification of phase change over time (reboot, etc.)